## Query_CSI
COMOS query export Cover sheet
User hint
Ladies and gentlemen, This Excel file contains data, exported via CAE software COMOS. This data can be reimported to COMOS. For a dataflow without any complications, you have to note the items below: - Only cells with white background can be changed. - Do not remove the sheet protection, because this protection is effective only for not editable cells. - Do not use sorting, filter etc., you might lose very important import information for COMOS. - The first row and last column of an exported sheet includes important information in XML format; modifying or deleting this data causes, that the COMOS import does not work anymore.
COMOS system information
COMOS version | 10.1 Service Pack 36058
User name | JEZH
Database | PT_SQL_SERVER
Project | 1032023
Date | 15.09.2020 09:29:40
File name | W:\Comos\BGA10 EA363.xls
Table name | QUERY
Working layer
Query information
Name | 4
Description | Query: Cable list
Start object | A001¦B¦G¦A¦10¦FS.39¦FS.29
SystemFullName | @99¦A20¦M00¦A40¦A10¦Z10¦04

## Query
F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | F13 | F14 | F15 | F16 | F17 | F18 | F19 | F20 | F21 | F22 | F23 | F24 | F25 | F26 | F27 | F28 | F29 | ComosSystemInfo
System tag | Cable tag | Comp. Catalog Link | Type | Routing Tray | Cable Colour | Length | Unit | Component | Comp. Description | Comp. POI | Comp. POI description | Comp. Poi Link | Comp. SOI | Comp. SOI description | Layout Diagram | Circuit, Loop & Connection Diagram | Component | Comp. Description | Comp. POI | Comp. Poi Link | Comp. POI description | Comp. SOI | Comp. SOI description | Layout Diagram | Circuit, Loop & Connection Diagram | Remarks | MCT | Show in cable list | @@UU@@C@@ANxKAIUUAQpjHOc6DoShCEJSlKUpSpalKUpKlKUpS2KUta2LWBa1sAtgFrWtawAAxgFqAxYGMYwDGAYwDFAWADAMWwCgMWpi1gABgGKWti1sWtiwAYAAAAAwDAAAAAAAAAAAMAADAMAAAAAAAAAAAADAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAwAALAAAAAAAAAAAAAAMAADAi+721Pqq19ms/vhe/f45SvlPzxgPyU4R+f8saT8ukaR/lG4/zjeOkfNHEbxyHBHCN45x/MW0cY1G8arCrrjSfr2jWtWLIzInSOFLKWRreMj88ajUajFssq7SoOWKWublt+pudjq+/4tfFt8Xl6Rzj9Uco55w48vwZv1eKpTtisjrjUajIysh4iyhqQyhkZGo0p4Iyq+KpfyxVdNR4aXZGqn8Waza/hW2w24dvZndx7+PKNRkdpjGJvHSOEbRtHCNo6o3TfK/BZXTJVwqrI8NcNk2jIzWBqlpGRqOvrG8bUuxJLrtnNvHyxxjdRvwa1rWs6Zm2tta1jbM21tm2tazMzM478kqj7rwuuqv7fk0jp0ieWE2lQfzylil/Jglv2VqVXgjf8K/qLF/Wu82q0vjW5Yt291UtRyjFrI/HX1q0/ojrzWUZhXgbSMsZYzK2qMK2yNLesa4x544bUfhcLHx21zjJ0zgqyHi1cerTMzfUazMZtq9blHqbG/PNXKMttuVauSOGI6I2+gn5vN7f4/n+t6Xu9/V5Ht+Tbf3P6duLjx26+rt7e3bt7e3ObwdvZ2Z2cIj0ZUqOUkHdIyMYoyMpZGKU3zhnHHiyU+POvIo8WUNscM68JLyep3fHvG62jaU3xH1MI3jKFwjUZS1HSNo0hN5rLUZGRkapdsbFLaNo1KYo7rHge2z2lWo6b0k8kp9EvcLZ5eq01q01tcI7Y/uj5fkczrjxR8FU9WP0R8qOHjyj5Kq7V3u/rvMvDSwspbxypYuceRGo+Qt4/s2k4x7UfpjhS8MZHuUuBHF2dl2rjH+AvQXbHnpevGy6k0jwKWo5Ebx1eeNlLxSmzeNoyOFQeru81LgjlHcpfvUvY1GDrUuCN4yPqcI9EdcZGUt40pfvx2RkZHjLg8mTO25SVvS7I8sbRzj7EajxRkdUajVLKXHndIx4VLy+rySnKODUdsYjnHONo8sdKC4RwjtUujpG6PRHOPCR448jwxsvJS+zS2ja7o73GRD6HGlvHzODvjw16Y7I6ioNRvbRi7o2pdccKlsR9GMR9J5fI4x4o4x9pu66X2o3ji/VKe3GSmRwj66lR+WhbSV5KSfAlNR8Ep78leh7cfo/JwjhS8Xjj30eCOjz/o+2qrH6YyMjFPHGUtRuxPDHmR5PblPXFuqrYjhGiOUZG0eeNUufMpboz7cd3Vkp3k7cRg/1j3kp6KW9wd8bZGRssG1e9sexGR6n7ebp1RVclLFFZGZSxMjJW1JOqWlpVrIozVYVmU1QWq6pTCOEajhGxHSOqknqx+tVWqX1UcUcI5x9ZKeWNvm0pYyOrzR5u2N0el1x83hj6/gjr5SnqR440lOMdilqPckffYjsjqF6kexHOSsR590e8pd0eMR6YxHdK9mMokxiezGFemM2KW8bRtVLvUe+j07KXZT3Y70etHkjpvGo9iPcj70ew88drI6qC9OqWo93dDwRWCNir5yNujulupZHOPzR3o2j3lVeKl5o5PNHrOlLEZHl5FXGkmUv4I8T16XqRwaRqOpSo2qO/eOYrehdkbRqSv2PiRtUckeWTlGu1GR0c6SaW+IN0YjipbRql3RypajbcjKX2I+ujqQXCoMpX/uI4OiU34KX2lN496M3jwWo4Rnd9JHw0v3VL3JT2o+d449+PBSThSu8Q5iGR9Oknwxyj20eyjwo6o+COEelyfDT50eiPqwE80dUe/KbyncVfCjsk4qnPKFjI5I4yV70eRwj9v0I88c48hRaKtKXNkbo+5G0bRXRGRx9iPXT6bNR7NLjG3dG0eON45i6vPHjRkVrVwUtR70d0cY6VxjG8bxtnojWh7+malOkYpdI4kcKq5x5yN45xvHz3rR1x1qXbHRGo6SVzjaO920ukeZ40bdou5GoxGkdiqXZ1o3jujhJ0SnfHYpUa+jS6I6R7UcKj11LgRyjrx2RjUeNkdUbU9aPuN1L9ylyVcW0e1KexAT0x3KXmpeXv8fk7Pufx/s+9qqiq93JVUv9v/9Ioo8OCVV/9lL/zBUE/5wgX+mUD8OKCI/38vtf9df/H/fI/F+LQ
=BGA10 EA363 | WD01 | =@Catalog.W.D.WD01 | 2x2.5+E mm² | LV | Black | 14 | m | =BGA10 FC363-XD01 | Lighting Interior Main Deck (North) | +BGA10UC001.S01 | 400 V AC Main Distribution Board 1 | =BGA10 UC001-UC01 | ++UBB03.R008 | LV ROOM 1 | 1032023-SEMCO-Z-XE-0017 | 1032023-SEMCO-E-XK-0003-P29 | =BGA10 EA363-EA01 | Light Fixture - 44 Watt |  |  |  | ++UBB02.R009 | MV SWITCHGEAR ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 |  | 328 | 1 | @@UU@@C@@ABHmAAxwUQxjGOc5zIOhB0HQhKUoQpKFJQpAAIAhClKShCkgSpQFKUpKlKApKEgSACAAUoAEqABIEpAlSgASBCVKAkCEKUpQAKApSEqUBSEoSpKQAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAUAAAAAAAFAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAj0+7+cP5hvIf5Dps+3n4u4PqffSlX28d/d+vizV3rO/z8mTHnrL6P/0sV+lhjvuZhK47JI/6BLvL5tAYZMlDUkTwIsH2UHkPDEp4mXx1VXS3ZvlLkXL5V9l1XypcvTFTwwRhDXhdC62ilChcH3flC24kt9fYtfhF+tFfjCyF2FWZoeNddVa20sbXLzczmzwxdXemrbtV5lQRoqFrRDNN+BOCSR+/DCuFYLJWnCyyPRZYU+Hyw7WrQshUOSyFu/+sPeJbDqQ92G7C2oaht7tVdKllXYQwkTaR58IY8eStyHihybm8Z4bp/UKjLhgzabVhkJv4TcjPC+GHLwctvXhrw7XqhdlkTRoUq2VMUMsyzY2ev7eJD5YaUiZahZD+P0ywxfJp7cNpb8eFasqyHb+CHW7kP2Qwhtw+ZHv8HZR0f7DYh0wqHSj3EM6Gxn9elzQJfD07q7oR6c3WkTn1kNENeGvDbuQtQ7utihihlRTF6uDN1ULWKH9vZDGyQ9i1DJDHX0wJqQ6iFQ1ocMKhq4O39HRD4kOKHfh3occLYWQ+eHZh2IUGz5PBISSD2g
=BGA10 EA363 | WD02 | =@Catalog.W.D.WD01 | 2x2.5+E mm² | LV | Black | 15 | m | =BGA10 EA363-EA01 | Light Fixture - 44 Watt |  |  |  | ++UBB02.R009 | MV SWITCHGEAR ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 | =BGA10 EA363-EA02 | Light Fixture - 44 Watt |  |  |  | ++UBB02.R009 | MV SWITCHGEAR ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 |  |  | 1 | @@UU@@C@@ABHgAAxqUQpjHOc5znOg6EIQhKkqQgCEoUhKlIShQFKQlCEqSpSlKABIFJUpCFASkCgAUoAEqABIEqAlKlKUlKlKUACkKSlQAKApSEqUBSEoSpKQAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAUAAAAAAAFAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAj0uL9YfzDeQ/yHPb6eXj7A7MeBWC752Di+XNx/Na3a5fFp4q7eHy//juz4s2e/HfpSRVrSR/0CX/f+GqGTHjoaJE7iLD6KDvndiU7zJLpb1r5S9F8vuvn1r1DAmbFZ3YIzQ6EL4X3UpQoXh9X5QvvqIu9Fn2JfYZE/GFQsrPC2WVqbKzZt9uXkwa/J7MLvA6jUueGUiRtNSG9Am/JI/d1YV1VhZW3C1o8trFOD7ocOihaFQ8NoXb3kh7RLoa0OjNLpw3YYKhcbm7VXypar80M0ieNGWH54sWOvYh3oeLybp0tSFb0/qFJbLmzNWGInWdNNEL4Yv09u21DVh7uq88MGSRNGhSrpUxQ67K2NnpbOFD4oZpEyVC0P48eSGHP68Ot13w6krazw97ghsdiH7IZobkNxG/w8COb/YbEOeFQ50baGmhsafozckCYIebqL+ZHmz9GROXWQ1Ya8NeG5ehchxa2GGGGRFMPn4c/qoXMMP7emGJjh6VyGOGKvkgTRDoIVDWhwwqGple/2eaHwIccO1D3IduF0LQ+OG/DbhTLKVVVKmx3+4Ekg9QA=
=BGA10 EA363 | WD03 | =@Catalog.W.D.WD01 | 2x2.5+E mm² | LV | Black | 10 | m | =BGA10 EA363-EA02 | Light Fixture - 44 Watt |  |  |  | ++UBB02.R009 | MV SWITCHGEAR ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 | =BGA10 EA363-EA03 | Light Fixture - 16 Watt |  |  |  | ++UBB02.R015 | AUX ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 |  | 224, 225 | 1 | @@UU@@C@@ABHwAAx2UQpjGMc5zoOc50oQhKUoQBKkqQlKlISpIEgOlSUpAAClKABSlJAlKFAUoCAAUoAEqABIFKAlSQASlSVKUpIFJUkAAKApKUpABKUpSpKQAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAUAAAAAAAFAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAj09nqeKHkh0UPRD12+/y8X0DrvzpSsLuPDs9ji0V9dvs8v6YY69Ojzf/jpyZ9GnDNhqErjtJH/QJhj3vBqDPmzUNcidpFh91Qdw7cSn4s0ult++UvRfL7r5c/JGCY07cEZ4cmF8L7qUoVC8Pw/aF7XSF3tx49tji7sYXRc/WFoWRhbVD+NOGFrbtN7msfDk5+Xghl4Zqs76kSMjTDoQJskkf3shWxYWlc2FrR5rWKdPuw+TVQtCod60Lvj8cOiS6G5D+pwQ4YX1DWcHDVXypar/30Q0SJwI2oZMmWudDhh3/h6BrhwnnhUZs+d4G3DITHdX8+NUMYZvD4baXMhtw6vshhmkTkchSrpU2skOrNqb2/7+/ih88NEiZ6haGH+eLpZ4ZdF2rnQtzL542iHU2Q3urDBDNDLD5kdLp7Een/YcuHrhUPWjfQ1ocrX7dr+YEwh6viX+lHq0cuRPJuIbcN2G7Dm3oXIdfcxhjDMimPs6OjlIXMYed7oZGWHuXIZYZK+qBNUOShUNyGyFQ5Gd1vp9EOsh2IcUNkPthdC0Plhsh8EKYylVVSpv9ztCSSD3g==
=BGA10 EA363 | WD04 | =@Catalog.W.D.WD01 | 2x2.5+E mm² | LV | Black | 8 | m | =BGA10 EA363-EA03 | Light Fixture - 16 Watt |  |  |  | ++UBB02.R015 | AUX ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 | =BGA10 EA363-EA04 | Light Fixture - 16 Watt |  |  |  | ++UBB02.R014 | UPS ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 |  | 225 | 1 | @@UU@@C@@ABHkAAxsUQpjHOcxzoOhCDoOdSFKAhKUIUlKEqAlSVJQlKVKUACgKUBKQKAhCEgUACQAUoClKABAFKUlSlKSBKkKABIAISpIAKApSUqABKUoSpKQAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAUAAAAAAAFAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAj1+Lmh/cOqh54c9vr8vH2x9D8qUrFd3sXFw8eeu7b6fL4cWPZwy+b/8d2XWwyYqtnErvWkj/oExeD9toMuGFDYkT7UWH1UHfOSJT72WXS3u3yl6L5fdfLl/4VUKMdOSCM0NUL4X3UpQoXh937wvfnSF3rx6L3K/WL9SXQqF5TYhYZ6yWtppuaNNtXT6NQx235sXVWlSJGdrw34E+CSR/PWhXWWFlVohVo81rFPh78OvsULQqH6Whdv/xDbJdDTDow6UPHL7Q2Tw7u/VYpUtWLl14a8icyMM8MMMtbsOSHg8fVMu1DqH+QqM2trOVphkJ2upF9NmGKGHi8Vt2GmHx8Hqhi1M0iaNClXyphD5JrTNudD3uhWRD5oZ5EzVC0P65ssMev04eTZmWGrsQ2+5DyIYQ3obyOv2ewj0f7DbhzwqHOjcQ2UNvZ9etzQJih6ffX+hHpz+5InZ0obUNUNUN29C5Dh044Y4ZUUx+rgz7aFzHDpPZDIwh7FyGEMldyBNiHtoVDTDghUNGZ8Xb88O0hww44cUO7C6FofLDghvQp88pVVUqbn4/YhJIPa
=BGA10 EA363 | WD05 | =@Catalog.W.D.WD01 | 2x2.5+E mm² | LV | Black | 8 | m | =BGA10 EA363-EA04 | Light Fixture - 16 Watt |  |  |  | ++UBB02.R014 | UPS ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 | =BGA10 EA363-EA05 | Light Fixture - 16 Watt |  |  |  | ++UBB02.R013 | BATTERY ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 |  | 223 | 1 | @@UU@@C@@ABHkAAxqSQxjHOc50HOc5znQhSUpQhSjoUhQEKSlKUqQhSVASlKgAABAAJUpCFAQACAAUoAEqABAFKAlKgJSBSkpUAAEoQlQAKApSUqUBSUoSpKQAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAUAAAAAAAFAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAjy8PND+YddD/IdFn3eni4B33ipSr1vJe4fr4slfZZx+n88mDPh1vV/9tuLHgyXlmUSuSySP+gS7yfprhiw4aGaRPAiwfbQeE5YlPwYpbLNm6UuRdLrbpaun41UKX6csEa0NiF0LraUoULg+/zQuIs917Pc/KLdMXeWFkLyssMdqqabvHajay/He/Xa3IYNu9W7NF1VjUiRoZ4bsCdmSR+/ahXaWCxVfFCrI9VlhT5vFDezULIVDx2Qt63oh1yWw14djchqhzy9ZDQbny1V0qWVd5ssMsicyMkMGDDWqHLDyc/ZNEOwf1Coxa2s8rTDASuZuy6maF0MPn89mFqhphte2F7FImbMpVsqaWCHdmOdXZ1Nm+hzcEMsLKQx1Dt3Q/j0X8cMOf5Ib+iY4d754dXvQ/ZDDD4YcCN/6O2j1/7DqQ6IVDoRqQzodPP7sfPAl6Hs6y71o9mTqSJt66GmGxDYhquQtQ4de/C/DEil/27+TpoWr8P7e+GBhh71qGGGCvqgTND4EKhrw34VDRrO53+OHdQ4occN6HJC2FkPphvQ24U7kpVVUqbXh8CEkg6Q
=BGA10 EA363 | WD06 | =@Catalog.W.D.WD01 | 2x2.5+E mm² | LV | Black | 8 | m | =BGA10 EA363-EA01 | Light Fixture - 44 Watt |  |  |  | ++UBB02.R009 | MV SWITCHGEAR ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 | =BGA10 EA363-EA06 | Light Fixture - 44 Watt |  |  |  | ++UBB02.R011 | TRANSFORMER ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 |  | 219 | 1 | @@UU@@C@@ABHkAAxwUQxTHOc5zoOg6EHQhKEqQhSEJUpSEqQgAFJOhQAIAAAAAQBSVJAlCVJUoCQAUoClKABIEqUlQEAQBKgIAACQIQpQAKApSUqABKUoSpKQAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAUAAAAAAAFAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAj1eXph/cOFD1Q67vv9Hg+kd5+tKVgt4sHL3/Bmr67vs9Hmuw62HJ6f/y2xYMWpgtbMJXiukj/oEwc/7aAx48dDPIn4ouH3UHlPHEp5GSWl3w3yl6L5fa+WfngiqrDQueOCMsNmGCF9qUoULw/Lohez0hb3YbOhzRdbYjohULKzwzWqtijc5uxu4vL24Yr1DL801bVVudciRs56ywvyuCBO5JI/nTCtK4XKrehV0em64pxc0Po0ULoVDnuhbg/eG2S0K14b0N+Fr7oZy3a36rBKl1dUw6kNSROjpRmhjx5K+OHkh5urhNEOE/yFRky5WnRDETHvyfLnhghk8/nu3YaIcfthfjkTW1lKtKmGHHMk123ubu3iQ5IZpEy1C6H9dWSGHV+SHZ1pkhp7kNruw/hDHDehyI+fi0o9f+w2odcKh1o+JDWQ2tb3anTAmCHs7a/1o9mbsyJ3thDRDZhsw3r0LId/YwwwwyIph9unNtIWYYcr3wxMcPeshjhir6oEzw7CFQ2IcUKhr5XB3fVDjQ5YeGHgh9sLQuhyQ0w7UKeGUqqqVNz9PwQkkHwA
=BGA10 EA363 | WD07 | =@Catalog.W.D.WD01 | 2x2.5+E mm² | LV | Black | 10 | m | =BGA10 EA363-EA06 | Light Fixture - 44 Watt |  |  |  | ++UBB02.R011 | TRANSFORMER ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 | =BGA10 EA363-EA07 | Light Fixture - 44 Watt |  |  |  | ++UBB02.R011 | TRANSFORMER ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 |  |  | 1 | @@UU@@C@@ABHgAAxoUQpjHOg5zoOg50IQhCEKQhSkKQpSgIShIAIOhKlKUoAAAAhSkqUpCEqUpSlAAkClAUBIFKSpSlKUlSkKQAAFJQkCgKApSUqABSUoSpKQAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAUAAAAAAAFAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAj1OXvw/qHCh/kOq3b8PN7o9+PuVgu+Zg5fh0+btWt8fh/PPpV8uXxf/ix6mLLqX4780kV89pI/6BMH5fpmDJixUM8ifSiw7dQfadyJT62OXS25fKXovl918uXpg+xFncgjJDahghfdSlCoXh9X6wvIt5rPvTDrJzwqF6ssLZFatN3Z6MP4dGtwQxb8p1lDPTvSkSPTZIavDAmiSR/DjhXGsLK3oWtHitYp2Pxh7GehaFQ71oXcPgh1yXQz7EPVhwQu42C6Gqet1qq+VLVzunDTozwzyJ30ZoY8eSt+Hdhz9Og2IddxT+4UmTT02vDSJ6LgTNC+Gl+23t3b0NeHH5YX45EzZlKulTDD22Rm3N2zcwoW5IaciY6haH8+DHDSy78NjNNPJD3NENnsw/dDHD0ociOLscaPH/sNuHVCodSNZDOhtZ/Np9MCYIeT11/jR5Mu3ImjXQ1obENiG9ehchy6+GGGGNFMPl4su0hcww5XnhpMUPOuQxQ0q7MCZobKFQ14aIVDVyPZ974oe0hyw7UOaHyQuhaHJDRD1IU+CUqqqVN3u/QEkg9A
=BGA10 EA363 | WD08 | =@Catalog.W.D.WD01 | 2x2.5+E mm² | LV | Black | 15 | m | =BGA10 EA363-EA06 | Light Fixture - 44 Watt |  |  |  | ++UBB02.R011 | TRANSFORMER ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 | =BGA10 EA363-EA08 | Light Fixture - 44 Watt |  |  |  | ++UBB02.R011 | TRANSFORMER ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 |  |  | 1 | @@UU@@C@@ABHgAAxtUQxjGOc5znQc50HOhCUpAdKFIQpJwAUpSEoSpSVKUBSgKApKgJApCFKAoAEgAgAAKUkCVKUpIEpUBKgKAhQEqSoAAKUpSUKApSUoSpKQAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAUAAAAAAAFAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAjzcf6Q/mHtIf5Dos5fLydoduO+ru29xfyce18/0WWfT5fFt4ax4Of/8Vt2DJluuu2pIruWSR/0CX/h+OkMmLFQzyJ9SLBy0HfO9Ep9rHLZZvXSlyLpdbdLVyX191V3oIyQsF27CoX3UpQoXh9fi/KF99SF3pseFLtSYYVC5WhmhbllbdNee/Rp14+tDFbNjPaYdksQTqMkLtkCe3JI/ZwwrhWCxV8LLI57LCnX++HFnoWQqHgshbs/WHSJbDLqh68OtC6oXHgcG/sqsEqWVwMOaGaRPGjF5GaFY8eSt+Hdh4fZMemGif1Ckx5MjbhgJuPYnNUzwvhi2fnzW70NUPd9ELsuSRNGhSrpUww7LI19XTrwIfFDLImOoWQ/jTjhg2uCGaYodnrw3fjh5EMMOrD4UcPY4keb/YbsOiFQ6Ea0NCG7o9OXmgS+Hn2LvMjz7XTkT99SGmG5DchvXIWodvVghghjRTB6OLa6SFrBDneqGFih6lqGKGGvlgTPDdQqGqHFCobeR73a/uHvofBDjh80OSFsLIfJDsQ34U9yUqqqVNf2coSSD1g=
=BGA10 EA363 | WD09 | =@Catalog.W.D.WD01 | 2x2.5+E mm² | LV | Black | 12 | m | =BGA10 EA363-EA07 | Light Fixture - 44 Watt |  |  |  | ++UBB02.R011 | TRANSFORMER ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 | =BGA10 EA363-EA09 | Light Fixture - 16 Watt |  |  |  | ++UBB02.R009 | MV SWITCHGEAR ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 |  | 228 | 1 | @@UU@@C@@ABHmAAxrUQxjGOc5zoOc50IOdCEJApSEIABCUpSlQEoQlQEJAAAAJABKlJUlKEgUgCgAUoClKApSlKUpSQKQpSkoAACkqQpQAKApSEqABKUoSpKQAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAUAAAAAAAFAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAjzeH9of3DsoeeHTZ8vRx94d9+FKVfb8d/h8HHlrxWfF0fniw6L+Tzf/rYcODWy323ZhKx2SR/0CX8v6bAZMWKhnkT50WD5KD7z6olPsY5bLOpdKXIul1t0tXJfT6YIxw+1GrVDBDBfSlChgD6OaFtxF93ru173ji3THkhULmazPDJdVaaaN/m1sn49aGHeYZnt0VyqRIsqqzwodeBO1JI/nghXAsFkrahZZHmssKcPjh289CyFQ5bIW9f94dglsNMOpDfhbUM5u79VdKllYL8kMkieVHNfDDhxVzzch9cPy5+qa8Oz2PIqf5Coty5szVDETRsOtGvDLght5P192ym5DZhxeqF+SG5SGxsKVdKmGHFMGSVubufVhQ7sMsiZKhZD+ufHDBm1oXODPMcOLhhs96H8IY4bsO6jg97to9H+w2odMKh0o9xDQht6PXreWBL4enqrvQj05duROjShsQ1Q1Q3rkLUPh04IYIY0Uwergy7SFrBDwPZDCxQ9i1DFDDXfgTPDZQqGmHDCoa+R3Pg88O4h2oeKHHDkhbCyHvw4Yb0KckpVVUqe393zSEkg9oA=
=BGA10 EA363 | WD10 | =@Catalog.W.D.WD01 | 2x2.5+E mm² | LV | Black | 10 | m | =BGA10 EA363-EA09 | Light Fixture - 16 Watt |  |  |  | ++UBB02.R009 | MV SWITCHGEAR ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 | =BGA10 EA363-EA10 | Light Fixture - 44 Watt |  |  |  | ++UBB02.R009 | MV SWITCHGEAR ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 |  |  | 1 | @@UU@@C@@ABHgAAxrSQpjHQY5znOhCDoQdSEqShKUKQBQEIUhIFJQhSgKSAAFAUBIFJUpCEqSACQAUoClKAlQFJUpSQISBSlKABIEoUpSgKApSEqUBSUoSpKQAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAUAAAAAAAFAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAj1ePmh/MOBD/IdFvm5+TtDtx9ysV3eYuP483J3LW7vP9+vhWZ5f/wx58M2e/HfqyRXetJH/QJi8X4YBkx46GtIn0IsPlqQ+0+qJT62SXS3r3yl6L5fdfLl6Yqd+CMkNML4L7qUoUPBVYg+n8oXDERd6bPCmGwn4wqF6s8LZlaMtnU8HV5fFl070Me1hK32i9dklkSNtohvwJ7ckj93YhXYWFlaYWtHltYpw+GHFr0LQqHLaF2/+kPaJdDZhuw3oXVDWN3eqr5UtV+WGWRPIjdywwwx11od+HLzcB+c0Q4OBT+oUmbPnbMMCdfib0tU0QxQx3+Px3bkNMMnohfkkTV1VKulTGwhwrNvq7mw28EOz78NWRM1QtD+ObNDDW9mH7aJkh2eKHT7UP1Qxw2YfAjh933Eeb/YbUOiFQ6EdZDXQ2tf05vJAmKHn3l/mR58/TkTn2UNiGmGmG5ehchx7OpDUhkRTU9HFn2kLmpD+3qhgxw9S5DHDCvigTWh6yFQ2YcUKhoyuz2+vD3kOSHdh3IfJC6FofDDhh7EKXylVVSp1Ps+cJJB0g==
=BGA10 EA363 | WD11 | =@Catalog.W.D.WD01 | 2x2.5+E mm² | LV | Black | 6 | m | =BGA10 EA363-EA06 | Light Fixture - 44 Watt |  |  |  | ++UBB02.R011 | TRANSFORMER ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 | =BGA10 EA363-EA11 | Floodlight - 53 Watt |  |  |  | ++UBB02.R011 | TRANSFORMER ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 |  |  | 1 | @@UU@@C@@ABHeAAxvUQpioOc5znOlB0IQhKEJShSFKSBQFJUhKEJSlSUKSBKgAUhQAKShCQKABIAKAkCQAUoCVKUBQAJAlCAKABQFIAkAAKApSUpABKUoSpKQAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAUAAAAAAAFAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAj6XJzw/yG8h64dFvF6PB9o+6ORVW8K/Jx5/Bjtb7/Ry6uOqx+n/8eTPqYs97NEkV4bSR/0CX8vNrhlyZKGrInjRYfhQfqflEp5GWYS25eUui8vheYLpqU/GCMsNmF4XwtaqsoULh4/3h+iNRJilKqqlS/vyLv2TLrpzQqF2pbRDDKrW2HV25fNWG3n83Lzc3Xhk60zWcspEjpNaH8zegTtSSP6duFdtYWV8kLWj02sU+nyw7k00loVDltDDf88OAmENmHxw3oc8vaGk+bsVV5UtV88M8iY0ZYYsWOtyHkh5t8881YfRPVCky5szTDETrJohhDFwKrudSGmHDh7oYskMKQ0aFKvKmOHT2uptXQ+uGWRMdQtD++1lhi55n3Yd6c8zQ7u/Da4ocKGSG7Duo7HZ4Eez/YbcOiFQ6EbqGlDb0+/P/ECakPb86/sR7dG3Im5sIa8NmGzDduhgh39jFDFDKimL3dnRtIYMUPU+EMbJD4MEMkMdcUCasOmhUNiHXhUNbM4fs9cPqQ78OOHHDvQwhaHFDtQ+WFB1fz8UkiSD4g=
=BGA10 EA363 | WD12 | =@Catalog.W.D.WD01 | 2x2.5+E mm² | LV | Black | 6 | m | =BGA10 EA363-EA12 | Floodlight - 53 Watt |  |  |  | ++UBB02.R011 | TRANSFORMER ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 | =BGA10 EA363-EA07 | Light Fixture - 44 Watt |  |  |  | ++UBB02.R011 | TRANSFORMER ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 |  |  | 1 | @@UU@@C@@ABHeAAxvSQxjHOYxjnOdCEoQhKEIShKFJSoClIQpKFIQlKkKUoAAKUpKgKUhCVKUBQAJAoCQAUlSgKUBSlJUpSVKUoClJAkAAKApSUpABKUoSpKQAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAUAAAAAAAFAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAj08vfh/kPYQ8kOaz6PD2ewPijlVVnzruXkz9m+yz5fD+epfXzYeL/8MdGTDRdhbpkirLJI/6BLu73tYMcMKGpInbRYO1QfadyJT62Mtlm5dKXIul1t0tXJkp9MEYw2IXQutpShQuDt/rD7EZCMq70WvuTDINZO9CoZFffphbkVrfuvy7cyY10rc3Rvu/T14X49OZrX4ykSN1z4fzN+BOGSR/TihXEsFiulCyyPFZYU634Q6+rQshUPyshb1fBDgJbDYhuQ3odSXWQ1T1d6qulSyrs8M8iXoxhly31uQ7kO7vmmHgnrTxwpMc2ZqwvJ1E0Qthlb+1DUh17fPDJfDrXWIaNClZJUwh0Nnb2bkPdhjIl9Qsh/ffxhl0uCaN2Htz+Jnhx8ENr3oe0hhDdhxo6vD7KPL/sNuHNCocyPUQ1UNvV9Gf9oEyQ828u8qPNo2pE3NdDWhsQ2IbtyFqHw6+WGWGKKZfPw6NlC1lh43phewh6VqGEL6+CBNSHQQqGvDehUOfmcfv+SHuIfHDkhyQ+SFsLIdiHFDpwpmlKqqlTo/V2pJEkHOA==
=BGA10 EA363 | WD13 | =@Catalog.W.D.WD01 | 2x2.5+E mm² | LV | Black | 6 | m | =BGA10 EA363-EA06 | Light Fixture - 44 Watt |  |  |  | ++UBB02.R011 | TRANSFORMER ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 | =BGA10 EA363-EA13 | Floodlight - 53 Watt |  |  |  | ++UBB02.R011 | TRANSFORMER ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 |  |  | 1 | @@UU@@C@@ABHeAAxpSQpjHOcxzpOhCEIOlCEKUcCEqQpQFJUhSUIQlKkgSpIAKAlAFIUpCQKUBIAKAkCQAUoCkqUBQAJABCFIAAClJUgAAKApSUqABKUoSpKQAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAUAAAAAAAFAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAj1OTzQ/uG8h6YdNvF5/BxDjjkVVvCv5Pr6vgyWt9nn5dXJWfD0f/hlz4sM9+F2pJFeG0kf9AmLy82gM2GFDWkTxosPuoPzPwiU/Fll0tpvlL0Xy+6+XL0xU++CMsNmF8L7qUoULw8fPD8kYiLvbZ+iZNhMrmhaFhiWzwtcrX2WPal+FaeXm59P68+7DD4Zms5pSJG60Q3oE4ZJH8u1Cu0sLK68LWj0WsU7flh801aS0Khy2hdv9EOAl0NEOibsPlh5pitDXPj7NVfKlqvzwzyJkRmhjx5K0w8kOXfNSHRN6f5Cky5szWhkJupnhdDH+9U96GrD5PieyGPCF1IZ86lXypkh221t6btvEh9EM0iYVC0P6380MexM+5DvT+Jmh3d+G3xQ7iGENyHzo7PDwI9X+w24dMKh0o66Gsht63t6v7QJih6+wv9SPXn25E06ENiHWh1obl6FyHHoxwxwyopj9nBn2kLmOH0vdDIwh7lyGEMlcUCasNlCoaIdiFQ18zud/0w7qHHD6od6H2wuhaHfhww+CFMcpVVUqe/5PFJIkg6g
=BGA10 EA363 | WD14 | =@Catalog.W.D.WD01 | 2x2.5+E mm² | LV | Black | 6 | m | =BGA10 EA363-EA08 | Light Fixture - 44 Watt |  |  |  | ++UBB02.R011 | TRANSFORMER ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 | =BGA10 EA363-EA14 | Floodlight - 53 Watt |  |  |  | ++UBB02.R009 | MV SWITCHGEAR ROOM 1 | 1032023-SEMCO-E-XE-0012 | 1032023-SEMCO-E-XK-0003-P29 |  |  | 1 | @@UU@@C@@ABHeAAxsUQpjHOcxznQhCDoQhCEIShKUpSgCUoAlKEJUBKQKUBSgASlSgJQpCVKABIAJAoCQAUlSgKUpQFIABSAKUkCgIAhQAKApSUqUBSUoSpKQAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAUAAAAAAAFAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAj0+Pmh/MO0h/kOi30+jxfIPDHGqreNfx/Nn8WS1vo9H5amSsMPT/+GXPiwyX1bSkivHaSP+gTFycusGXDChqSJ5UWHkoPuPNEp9jLLpbdvlL0Xy+6+XL0xU+qCMsNiF8L7qUoULw8v5w+1GIi72/hcpMmsluWFoX5qq1+lC4X0rRe0bUvy10t6tXrbf6YoY+rMLOSUiRjasOxAnbkkfu4IVwLCyt2FrR6bWKcP3w7mpQtCofjaF2/zw3SXQ14deHShzzmmK6Gg5d7fqsUqWrFpw05EwRnhjx5K6cPNDk7Jqw7E/qH7WSmhmz52iGBN5NOF0MbchqQ7vshfjkTNmUq6VMcNjZ3Nm9Dh+KGaFqQwqF0P45sWaGT9ZpdSHwzbmeHe4IbXdhzoYQ6cPjR2+5wo9X+w3IdEKh0I6qGqht6vtz+eBMUPX2V/qR69LbkTd10NaGxDYh1L0LkPl18cMcMqKY/Zw6W0hcxw/t7oZGEPcuQwhkrwQJqQ2UKhrw34VDRmd7v8UPgQ8MOKHFD54XQtDwQ9+HWhTvylVVSpu/X5JJEkHvA=

## Ark1
F2 | F7 | F9 | F18
Cable tag | Length | Component | Component
WD01 | 14 | =BGA10 FC363-XD01 | =BGA10 EA363-EA01
WD02 | 15 | =BGA10 EA363-EA01 | =BGA10 EA363-EA02
WD03 | 10 | =BGA10 EA363-EA02 | =BGA10 EA363-EA03
WD04 | 8 | =BGA10 EA363-EA03 | =BGA10 EA363-EA04
WD05 | 8 | =BGA10 EA363-EA04 | =BGA10 EA363-EA05
WD06 | 8 | =BGA10 EA363-EA01 | =BGA10 EA363-EA06
WD07 | 10 | =BGA10 EA363-EA06 | =BGA10 EA363-EA07
WD08 | 15 | =BGA10 EA363-EA06 | =BGA10 EA363-EA08
WD09 | 12 | =BGA10 EA363-EA07 | =BGA10 EA363-EA09
WD10 | 10 | =BGA10 EA363-EA09 | =BGA10 EA363-EA10
WD11 | 6 | =BGA10 EA363-EA06 | =BGA10 EA363-EA11
WD12 | 6 | =BGA10 EA363-EA12 | =BGA10 EA363-EA07
WD13 | 6 | =BGA10 EA363-EA06 | =BGA10 EA363-EA13
WD14 | 6 | =BGA10 EA363-EA08 | =BGA10 EA363-EA14